## Slide 1
*Images courtesy of Paul Flint M.D. Johns Hopkins School of Medicine
endoscope
instrument
(tissue shaver)
laryngoscope
(cannula for instruments)
Minimally Invasive Surgery of the Throat*
Constrained motion + rigid tools = No suturing or functional tissue reconstruction capability 
Our Goal: enable precise functional reconstruction of tissue inside the airways

## Slide 2: Distal Dexterity & Deep Surgical Fields
Single natural opening
2 unconstrained DoF
Deep surgical field
Min 4 DoF of Distal Dexterity enhancement is required with one being rotation about longitudinal axis of the gripper

## Slide 3: MIS of the Throat and Upper Airways
Laryngoscope with Integrated Stereo Vision
Right master arm
Left master arm
Stereo Video Processing Unit
Local Area Network (LAN)
Right slave arm
Left slave arm
Right slave
arm
Left
slave
arm
Left master arm
Right master arm
2D display
3D display
In collaboration with Russell H. Taylor ERC-CISST, JHU
Ankur Kapoor telemanipulation

## Slide 4: A system for MIS of the Throat
In collaboration with Ankur Kapoor and Russell Taylor JHU ERC-CISST

## Slide 5: Control & Modeling Challenges for µ-surgery
250 m

## Slide 6
Examples of Palpating, Localizing “tumors” and Building Stiffness Maps
Exploratory manipulation
Estimation of wrenches at unknown location
Bracing /Whole arm manipulation
Multi-point Contact

## Slide 7: In-Vivo Sensory-Aided SPA Surgery
Gripper
One-DOF wrist
Four-DOF continuum snake arm
Flexible stem
Parallelogram mechanism
Stereo vision module with integrated light source
Three-DOF actuation for vision module
Optic fiber bundles
Central Stem
1st segment
2nd segment
In collaboration with P. Allen C.S. Dept. & Dennis Fowler Columbia Medical School
Forward-looking vision module
Ø15mm

## Slide 8: -Surgery of the EYE Dual-Arm Orbital Manipulation and Intraocular Dexterity

## Slide 9: Ophthalmic Surgery
Assistant Surgeon
Main Surgeon
Patient
Microscope
(A)
Light Source
Irrigation Tube
Cornea
(B)
Surgical Tool
3 incisions / Multiple tools (laser, graspers, picks, light source)
Requires orbital manipulation
Requires precise intra-ocular dexterity
Dual arm operation
Anterior vitreous membranes
Vitreous membranes
Membrane peeling