## Slide 1: Example: Human Precision V.S. Robot-Assisted Precision
manual
robotic

## Slide 2: Dual Arm Ocular & Intraocular Dexterity
IODR cannula
Bending tip
We address the need for intraocular dexterity and orbital stabilization/ manipulation

## Slide 3: Manipulation Cases for Hollow Suspended organs
1
2
3
1
2
3
3
2
1
1
3
1
2
3
1
3
1
3
1
2
3
2
1
2
3
1
2
3
3
1
2
3
Gripper
Membrane
Tool 2
Tool 1
Tool 1
Tool 2
Tool under retina
Case 1
Case 2
Case 3
Case 4
(A)
(B)
(C)
(D)
(E)
(F)
(G)
(H)
(I)
(J)
(K)
(L)
Grasper
Knife
Membrane
Retina
Heavy liquid
Knife
Grasper
Membrane
Grasper
Tool
Case 1: intraocular dexterity
Case 2: intraocular dexterity with constraints
Case 3: Orbital dexterity without constraints
Case 4: Orbital dexterity with constraints
Wei Wei, Roger E. Goldman, Howard F. Fine, Stanley Chang, Nabil Simaan, “Performance Evaluation for Multi-Arm Manipulation of Hollow Suspended Organs”, IEEE Transactions on Robotics, December issue, 2008

## Slide 4: Intraocular Dexterity with/without IODR
8-DoF with IODR
7-DoF without IODR
7-DoF without IODR
8-DoF with IODR
Translational intraocular dexterity
Rotational intraocular dexterity
Average intra-ocular GKCI over the whole workspace.
 | Rotary Cannula (no IODR) | With IODR | Improv-ement
Translational GKCI | 0.2549 | 0.3355 | 31.62%
Rotational GKCI | 0.3660 | 0.5773 | 57.73%
LKCI = Local Kinematic Conditioning index = average dexterity for a surgical site ±20º around center of site

## Slide 5: Stenting for treatment of CRVO and BRVO
+
=
CRVO

## Slide 6: Cochlear Implant Surgery
Base of cochlea
Cochlear duct
Scala tympani
Basilar membrane
Apex
Basilar membrane
Hair cells
Receiver
Electrode array
Cochlea
Transmitter
Microphone
& processor
Round window
Notes: First of all, let’s take a look at what is CI
CI applies to people with severe hearing loss due to damaged hair cells.
System made up of components including: microphone, transmitter, receiver, round window, electrode
Cross-section of the cochlea, scala tympani, cochlear duct, basilar membrane, base bone of cochlea
Avoid damage basilar membrane, external wall of the cochlea

## Slide 7: A system for robotic assisted CI surgery
We propose robot-assisted insertion to achieve:
1. controlled insertion force
2. controlled placement of the electrode array
3D Cochlea (3:1)
2D Cochlea (3:1)
Actuation thread
Implant (3:1)with
embedded thread
Steerable electrodes
Models of the Cochlea
1:1 electrode

## Slide 8: 2 DoF Verses 4 DoF System
2 DoF insertion
4 DoF insertion

## Slide 9: 4 DoF System Experiments
q2
q1
q3
q4
q2
q1
q3
q4
2D ST Model
3D ST Model

## Slide 10: Safer Cochlear-Implant Surgery
Jian Zhang, Kai Xu, Nabil Simaan, “A Pilot Study of Robot-Assisted Cochlear Implant Surgery Using Steerable Electrode Arrays”, MICCAI’ 2006 best students paper award for clinical application.

## Slide 11: Experimental Results
2DoF Non-Steerable
with force feedback
2DoF Steerable
with force feedback
4DoF Steerable
2D
ST
3D
ST
Zhang, J., Wei, W., Roland, J., Manolidis, S., Simaan, N., “Calibration, Path Planning, and Performance Evaluation for Steerable under-actuated Electrodes for Robot-Assisted Cochlear Implant Surgery”, Submitted to ASME Journal on Medical Devices, 2008.

## Slide 12: Robotic Insertion Module for Cochlear Implant Surgery
Insertion module
Micro-surgery mode: 500 micron grid

## Slide 13: Future Challenges: Reduce cost
ERC-CISST Steady Hand Robot: $20-30K cost
Low cost RCM mechanism: $5k
Significant reduction in price of robots and procedures can be achieved through the use of dedicated simplified mechanisms

## Slide 14: Conclusion
Robot-assisted surgery is still in its early stages
Many applications proved improved success rates when robot are used
The impact of Robot-Assisted surgery in the next 20 years is expected to be as significant as in robot-assisted manufacturing
Robots should be used as tools rather than surgeons
We will still need surgeons – not engineers or programmers 
An new generation of engineers & surgeons is needed

## Slide 15: Perspective
Interdisciplinary approach is a must  engineering without bounds
Online sensing of interaction is the key
Need sensory technologies
Need new telemanipulation frameworks for shared awareness and execution of tasks
Need new frameworks for enabling intelligent surgical robots to form understanding of the environment and task during task execution  complementary situational awareness

## Slide 16: Robot Assisted TKR
Robotics Lab.
Technion
Robot should be Registered to the bone
D. Glozman Technion

## Slide 17: What is registration ?
Robot
Bone
Tools
Model
Linking between preoperative planning and execution phase of CRIS.
Matching all the geometric data available for a patient in a unique coordinate system
D. Glozman Technion
Notes: CIS 5 : Registration for CIS requires more accuracy than for diagnosis. In addition not only images but also operating systems and tools must be registered. Not only to match images but also to register physical spaces.

## Slide 18: Examples: Dexterity Enhancement
Arthroscopy: 3 mm, SMA, Dario 1997
Wire-based Endo-periscope for MIS, Breedveld P., Hirose S. (2001)
(International Patent pending)

## Slide 19: Tools for MIS dexterity enhancement (UC Berkley)
Tendon-driven multi fingered hand
Wire-based 2 DOF wrist
2 DOF Wire-based parallel wrist

## Slide 20: Example: Parallel Robot for Ophthalmic Surgery
Micro-Pipette insertion
W. Grace (Northwestern University, 1995)
A parallel robot was used for its high accuracy and compactness

## Slide 21: Future Challenges: -surgery and Less Invasive Surgery
Da-Vinci ® (Intuitive Surgical)
Requirements:
Manipulate multiple tools through a single Pre-determined port
Provide distal dexterity in confined spaces
Miniaturization

## Slide 22: Robotic-Assisted Ophthalmic Surgery
No intra-ocular dexterity. No manipulation/stabilization of eye under microscope
Grace et. al. 1995. Bilateral manipulation, parallel robot, cannulation.
Wei-Tech, Cam Riviere Hand-held device, tremor cancellation, force sensing
Taylor et. al 1999 Cooperative manipulation. Tremor filtering, virtual fixtures
Das et. al 1996/NASA JPL Micro-Dexterity Systems
Mitsuishi 1996 hand-held device with wrist

## Slide 23: Surgical task Planning
Orbital Dexterity without Constraint
Orbital Dexterity with Constraint
LKCI comparison of orbital manipulation with/without constraints
Start Point
Path 1
Path 2
Path 3
Example of path planning for membrane peeling procedure (only half of the eyeball is shown).
1
3
1
2
3
1
3
1
3
1
2
3
2